Health and Safety Guidance

Risk Assessment

GUIDANCE/17/RA/00

This document gives guidance on general risk assessment.  It offers advice on planning risk assessments and on the steps involved in the complete risk assessment process for compliance with University Health and Safety Policy (UHSP/0/01).  A series of decision trees to help in identifying hazards are featured in the appendix.  An assessment summary report form is included at the end of the appendix.  Whilst this guidance assists in the identification of specific hazards, it points to other documentation where a particular hazard is subject to specific Policy requirements such as for hazardous substances or ionising radiations.

(A Web browser interactive version of the hazard and risk assessment process is located at:

http://www.hsu.bham.ac.uk/univ/risk/riskass.htm)

Further information and advice may be obtained from the Health and Safety Unit.

October 2000

GUIDANCE/17/RA/00

CONTENTS

| INTRODUCTION | Page |
| --- | --- |
| THE PRACTICALITIES OF RISK ASSESSMENT | 1 |
| How should assessments be planned | 1 |
| Generic assessments | 2 |
| THE RISK ASSESSMENT PROCESS | 2 |
| Step 1 Identify the hazards | 2 |
| Step 2 Decide who might be harmed | 3 |
| Step 3 Evaluate the risks arising from the hazards and decide what should be done to control them | 3 |
| Hierarchy of control | 3 |
| Health surveillance | 4 |
| Step 4 Record the findings and put into practice the control measures | 4 |
| Step 5 Review the assessment from time to time and revise if necessary | 4 |
| APPENDIX 1 |  |
| Assessment overview (decision tree) | 5 |
| Hazards associated with the place of work (decision tree) | 7 |
| Hazards associated with the working environment (decision tree) | 8 |
| Hazards associated with work organisation (decision tree) | 9 |
| Hazards associated with machinery or equipment (including non-powered and hand tools) (decision tree) | 10 |
| Hazards associated with harmful agents (decision tree) | 13 |
| Hazards associated with methods of work (decision tree) | 14 |
| Other types of hazard (decision tree) | 15 |
| APPENDIX 2 |  |
| Hazard and Risk Assessment Summary (report form) | 17 |

g:\aww7text\guidance\17ra.doc

Updated 11 July 2002

Risk Assessment

INTRODUCTION

The University Health and Safety Policy requires Heads of Budget Centres to ensure that risk assessments are carried out for all activities under their control.

“Heads of Budget Centres must ensure that risk assessments are carried out for all activities under their control as required by current University Policies and that appropriate action is taken to eliminate or control the risks identified.”

There is a general statutory requirement to carry out risk assessments for all work activities.  There are further statutory requirements to carry out risk assessments for work activities that present specific risks.  This document primarily provides guidance on the actions needed to ensure fulfilment of the general statutory duty.  However, the guidance also shows how to approach assessment in such a way that any specific risk assement requirements are also identified.  Further guidance is available on specific risk assessments.

This guidance is intended to provide practical advice to assist those responsible for carrying out risk assessments.

Purpose

The purpose of risk assessments is to allow for a systematic identification of significant risks so that they can be prevented or reduced and controlled to an appropriate standard.

For the purposes of University Health and Safety policy the terms 'hazard' and 'risk' are defined as follows.

Hazard means the potential to cause harm or adverse effects.  A hazard is a property of any substance, equipment or activity which can cause injury or harm to health (e.g., burns, dermatitis, disease), or adverse effects (e.g., fire, explosion).

Risk means the likelihood of the harm or adverse effects of a hazard being realised.

NB  There cannot be any risk if there is no hazard.  However, with appropriate control measures it is possible also to have no or only a small risk even if there is a serious hazard.

THE PRACTICALITIES OF RISK ASSESSMENT

How Should Assessments Be Planned?

In most Budget Centres there will be activities commonly performed by a variety of individuals and groups and it should be possible to divide the assessments into broad categories of work and to produce common procedures.  For example:

office accommodation, lecture theatres/seminar rooms and general circulation areas;

workshops;

research/teaching laboratories;

peripatetic work and fieldwork.

In very large and complex Budget Centres these categories can be further subdivided.  This could mean that research and teaching laboratories are dealt with separately or research is divided into groups or projects.  Particular activities performed by a limited number of people may also be assessed separately.

It is important to follow local management or organisational arrangements in the division of the work wherever possible and to ensure that all areas are covered.

Generic Assessments

Generic assessments are assessments produced once only for a given activity or type of workplace.  For example, where there are several locations where the same activity is carried out, then a single generic assessment could be done for that activity to cover all the locations.  Similarly, if staff work away from base, such as maintenance electricians, then generic assessments could be used for their hazardous work, rather than attempting to produce an assessment for each activity at each location.

Be warned, casual use of generic assessments can result in very poor control, and no improvement in safety.  It is important to ascertain that a generic assessment is applicable to a particular situation.  If the circumstances of a particular situation (such as extra hazards) differ significantly from those of the generic assessment an extension to the assessment will be required.

THE RISK ASSESSMENT PROCESS

Risk assessment involves the identification of the hazards present and an estimate of the extent of the risks involved, taking into account whatever precautions are inherent to the process/activity.

There is more than one approach to risk assessment, for example:

look at each activity (not forgetting non-routine activities, e.g., maintenance, breakdowns etc.). which could cause harm or adverse effects;

look at hazards and risks in groups e.g. machinery, transport, substances, materials, electrical etc;

look at each section e.g. stores, workshop, laboratory, office, etc.

The approach should match the circumstances.

The actions required for an assessment to be suitable and sufficient and compliant with other legal requirements are summarised in the following five steps:

Step 1  Identify the hazards

Step 2  Decide who might be harmed

Step 3   Evaluate the risks arising from the hazards and decide what should be done to control them

Step 4  Record the findings and put into practice the control measures

Step 5  Review the assessment from time to time and revise it if necessary

Step 1 Identify the hazards

There are a number of simple ways in which hazards can be identified.  In order to achieve a suitable and sufficient risk assessment it is essential to identify all the hazards associated with an activity.  In all cases team consultation is a powerful aid.

For complex activities it can be useful to break down the activity into its component parts, perhaps by job analysis.  For example, this could comprise:

| a large piece of equipment |  | for hazardous substances |
| --- | --- | --- |
| installation setting/adjustment normal operating breakdown cleaning/spillage/decontamination overhaul dismantling |  | storage of materials transporting materials preparation of solutions performing experiment dealing with accidental release clearing up after experiment disposal of waste |

A decision tree to help identify hazards and determine the significant risks is provided in Appendix 1.

Remember, if there is no hazard then there is no risk.

Step 2  Decide who might be harmed

Look for who may be harmed by the hazards and how.  Include people who may not be in the workplace all the time, e.g. cleaners, visitors, contractors, maintenance personnel, patients, members of the public, etc.  If the workplace is shared with others, include them too if there is a chance that they may be harmed in some way by the activities.

Step 3  Evaluate the risks arising from the hazards and decide what should be done to control them

Is there any real chance of harm?  Take account of any precautions that are inherent to the process/activity;  check against University Health and Safety Policy and Guidance and consider whether the precautions are adequate and, if not, what further action is needed.

There may be cases where the hazards and risks are not specifically addressed in University Health and Safety Policy and Guidance.  If the precautions meet standards set by a legal requirement or a recognised industry standard or standard of good practice (e.g., a British Standard or HSE guidance), then they are likely to be adequate, unless the standards or requirements are out of date.  As a last resort, consider what represents good practice.  Is it practicable to do more, especially for those risks which could result in serious harm?

Go through the following questions:

- can the the hazard be removed altogether;

- if not, how can the risks be controlled so that harm is unlikely.

In any case of doubt, contact the Health and Safety Unit for advice.

Hierarchy of Control  There are five classes of measure for controlling risk and they need to be considered and applied in the order below:

1.	Elimination/substitution

- Elimination (e.g. buying ready-mixed or pre-assembled materials or equipment);

- Substitution by something less hazardous and involving less risk.

- Engineering controls

- Enclosure (enclose it in a way that eliminates or controls the hazard/risk);

- Guarding/segregation of people.

- Administrative controls

- Safe system of work that reduces the risk to an acceptable level (e.g. standard operating procedure);

- Permits to work;

- Controlled areas;

- Written procedures that are known and understood by those affected;

- Adequate supervision;

- Identification of training needs.

- Personal protective equipment

- Information/instruction (e.g., signs, handouts)

Some controls are essential.  In many cases a suitable combination of control methods may be necessary.  Often, more than one control option or combination of controls will provide a similar degree of control of risk.  If there is a choice of controls of equal effectiveness, that which involves the least effort is preferred.  Account may also be taken of the most risk and cost effective option.  Where people are involved, their level of competence needs to be taken into account. In some work, e.g. electrical work, it could be a limiting factor.

Consider forseeable emergencies, what can go wrong.  Will existing conrtols be sufficient or will there be special requirements for dealing with emergencies?

Controls will need to be monitored for effectiveness and some will be subject to legal requirements for periodic examination and test (e.g. COSHH requirements for local exhaust ventilation).  These requirements will need to be determined and recorded in the assessment.

Health Surveillance  A risk assessment will also need to identify any requirement for health surveillance where an identifiable disesase or health condition related to the work is likely to arise.  Examples include animal allergy, work related upper limb disorder and vibration white finger.

Step 4  Record the findings and put into practice the control measures

Use the proforma at the end of this document (Appendix 2) for recording the significant findings of an assessment.  Satisfactory completion of this proforma provides evidence of having taken the steps the law requires.

The record can be greatly simplified by referring to other documentation, such as manuals, the arrangements in the Budget Centre Health and Safety Policy, health and safety procedures and University Health and Safety Policy and Guidance.  These may well already have listed hazards for equipment or processes and the precautions and arrangements for controlling risk.  It is not necessary to repeat all that.  Similarly, reference can be made to other assessments where they are relevant.  Examples of this are reference to existing COSHH or noise assessments where those are suitable and sufficient.  If the required COSHH or other assessment does not exist then the outcome of this general risk assessment will be to request the appropriate specific assessment.

If a workplace is shared, others must be told about any risks the work could cause them, and what is being done to protect them.

Step 5  Review the assessment from time to time and revise it if necessary

Workplace changes, new equipment, substances and procedures could lead to new hazards and risks.  If there is any significant change, then the assessment should be revised to take account of the new hazard.  In any case, it is good practice for assessments to be reviewed periodically and in some cases (e.g. COSHH), it is a statutory requirement.  However, don't amend assessments for every trivial change, or for every new job that has to be attempted.  Walk around the area and look afresh at what can reasonably be foreseen as likely to cause harm.  Ask the people who work there what they think.  They may come up with hazards which they have noticed in the course of their work and which are not immediately obvious.  Accident records, manufacturers' instructions, or data sheets can also help.

APPENDIX 1

Assessment Overview

If the workplace/activity is already the subject of a departmental procedure that has been determined from a risk assessment then, provided that the procedure is going to be followed, there is no need for a further risk assessment, but the identification of the hazard will need to be recorded and the use of the procedure confirmed.

NB.  The first consideration after a hazard has been identified in any risk assessment should be - can the hazard be eliminated, substituted or minimised?

| Does the workplace/activity involve |  |  |  |  |
| --- | --- | --- | --- | --- |
| ( |  |  |  |  |
| Hazards associated with the place of work (see Chart HPW)? | (YES( | Is the place of work hazardous by HPW? | (YES( | Include in risk assessment |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Hazards associated with the working environment (see Chart HWE)? | (YES( | Is the working environment hazardous by HWE? | (YES( | Include in risk assessment |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Hazards associated with the work organisation (see Chart HWO)? | (YES( | Is the work organisation hazardous by HWO | (YES( | Include in risk assessment |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Machinery or equipment (including non-powered and hand tools) (see chart HME)? | (YES( | Is the machinery or equipment hazardous by HME? | (YES( | Include in risk assessment |
| ( NO ( | ( NO ( ( ( ( | ( ( ( ( ( | ( ( ( |  |
| Harmful agents (materials or substances, fumes, mists, dusts, radiation, noise) (see chart HA)? | (YES( | Are the harmful agents hazardous by HA? | (YES( | Carry out the appropriate risk assessment* |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |

| ( |  |  |  |  |
| --- | --- | --- | --- | --- |
| Hazards associated with the way work is done (lifting or carrying, display screen equipment, Repetitive movements, work station set up, transport) (See chart HMW)? | (YES( | Is the method of work hazardous by HMW? | (YES( | Include in an appropriate risk assessment* |
| ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Are there any other types of hazards associated with the work (See Chart HO)? | (YES( | Are the other types of hazard hazardous by HO? | (YES( | Include in risk assessment |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| The work does not involve any risks to health and safety or the risks are controlled by a School/Dept procedure |  |  |  |  |

*Specific Assessment Requirements

in University Health and Safety Policy

Manual Handling Operations:  UHSP/6/MHO/95

Biological Safety:  UHSP/9/BS/96

- Biological Safety: Risk Assessment of Work with Biological Materials form

- Biological Safety:  Risk Assessment of Work with Genetically Modified Micro-organisms  form

Hazardous Substances Policy - UHSP/15/HS/00

S2 - Assessment, Pro forma and guidance:

Making a Chemical Hazard and Risk Assessment:  USP/90/CHRA/16

HPW Hazards associated with the place of work

| Examples of Place of Work Hazards |  |  |  |  |
| --- | --- | --- | --- | --- |
| ( |  |  |  |  |
| Changes in floor level Damaged floors Debris Oil spills Sloping surface Trailing cables Uneven steps Water on floors Wet grass | (YES( | Is there a risk of tripping, slipping? | (YES( | Pedestrian Access Hazard HPW1 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Edge of mezzanine floor Edge of roof Erecting scaffold Fragile roof Hole in floor Work on ladder | (YES( | Is there a risk of falls? | (YES( | Work at heights Hazard HPW2 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Low headroom Sharp projections | (YES( | Is there a risk of striking against? | (YES( | Obstructions Hazard HPW3 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| High stacks Insecure stacks Inadequate racking Stacking at heights | (YES( | Is there a risk of falling materials? | (YES( | Stacking/Storing Hazard HPW4 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Silo or similar bulk store Tank Reservoir Sump Work over river Work near canal | (YES( | Is there a risk of falling into water or other material, drowning, poisoning, suffocation, etc? | (YES( | Work over/near water, etc. Hazard HPW5 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Locked exits Obstructed egresses Long exit route | (YES( | Is there a risk of trapping in fire? | (YES( | Emergencies Hazard HPW6 |

HWE Hazards associated with the working environment

| Examples of Working Environment Hazards |
| --- |
| ( |
| Arc welding Glare Molten metal Poor lighting Stroboscopic effect | (YES( | Is there a risk of eye strain, arc eye and cataracts? | (YES( | Light Hazard HWE1 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Cold room Work in furnace | (YES( | Is there a risk of heat stress, hypothermia? | (YES( | Temperature Hazard HWE2 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Cold weather Hot weather Outdoor work Wind chill factor Work in rain, snow, etc. | (YES( | Is there a risk of heat stress, sunburn melanoma, hypothermia, etc? | (YES( | Temperature Hazard HWE2 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Basement Chimney Pit Silo Unventilated room Vessel Work in tank | (YES( | Is there a risk of asphyxiation, explosion, poisoning, etc? | (YES( | Confined Space Hazard HWE3 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Fumes Odours Tobacco smoke | (YES( | Is there a risk of “Sick Building Syndrome”, nausea, tiredness, etc? | (YES( | Ventilation Hazard HWE4 |

HWO Hazards associated with work organisation

| Examples of Work Organisation Hazards |
| --- |
| ( |
| Lack of control of job Monotonous work Stress Too much work Work too demanding | (YES( | Is there a risk of injuries to employees? | (YES( | Organisation of work Hazard HWO1 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Obstruction to blind person Obstruction to prams, etc Traffic/plant movement Trailing cables Work above public | (YES( | Is there a risk of injuries and ill health of public? | (YES( | Work in public areas Hazard HWO2 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Process fumes Services (eg underground electricity cables) Stored hazardous materials | (YES( | Is there a risk of injuries and ill health to contractors' employees by work in premises? | (YES( | Contractors Hazard HWO3 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Contractors' welding Use of harmful substances Work above employees | (YES( | Is there a risk of injuries and ill health to employees by contractors work? | (YES( | Contractors Hazard HWO4 |

HME  Hazards associated with machinery or equipment

# (including non-powered and hand tools)

| Examples of Machinery Equipment Hazards |  |  |  |  |
| --- | --- | --- | --- | --- |
| ( |  |  |  |  |
| Two moving parts or one moving part and a fixed surface Conveyor belt and drive Vee belt and pulley Power press “In-running nips” Mangle Guillotine Scissors Stapler Using hammer | (YES( | Is there a risk of trapping (crushing, drawing in and shearing injuries) ? | (YES( | Mechanical Hazard HME1 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Something that may strike or stab someone or can be struck against Moving vehicle Robot arm Sewing machine Drill Hypodermic needle Pendulum Crane hook | (YES( | Is there a risk of impact (includes puncture) ? | (YES( | Mechanical Hazard HME1 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Something sharp or with a rough surface Knife, chisel, saw, etc. Blender blade Circular saw blade Sanding belt Abrasive wheel Hover mower blade | (YES( | Is there a risk of Contact (Cutting, friction or abrasion) ? | (YES( | Mechanical Hazard HME1 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Drill chuck and bit Power take off shaft Pipe threading machine Abrasive wheel | (YES( | Is there a risk of entanglement (rotating parts) ? | (YES( | Mechanical Hazard HME1 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |

| ( |  |  |  |  |
| --- | --- | --- | --- | --- |
| Cartridge tool Thicknessing machine Using hammer and chisel Abrasive wheel | (YES( | Is there a risk of ejection (of work piece or part of tool) ? | (YES( | Mechanical Hazard HME1 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Electricity above 240v Electricity - 240 v Electricity - 100v CTE Extra low volt electricity | (YES( | Is there a risk of electric Shock/burn/fire/explosion? | (YES( | Electrical Hazard HME2 |
| ( NO ( | ( ( ( | ( NO ( | ( ( ( |  |
| Static Batteries | (YES( | Is there a risk of electric Ignition sources? | (YES( | Electrical Hazard HME2 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Compressed air Compressed gas Steam boiler Vacuum Hydraulic system | (YES( | Is there a risk of release of energy (explosion/injection implosion) ? | (YES( | Pressure Hazard HME3 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Springs under tension Springs under compression Hoist platform/lift cage Conveyor tension weight Raised tipper lorry body Counterweight Load carried by crane | (YES( | Is there a risk of flying/falling materials? | (YES( | Stored energy Hazard HME4 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Hot surface Using blow lamp Welding flame/arc Refrigerant Steam | (YES( | Is there a risk of burns/fires/scalds/ frostbite? | (YES( | Thermal Hazard HME5 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Pneumatic drill Operation of plant | (YES( | Is there a risk of vibration white finger, whole body effects? | (YES( | Vibration Hazard HME6 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |

| ( |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inadequate crane base Fork lift truck on slope Machine not bolted down Mobile Scaffold too high Scaffold not tied | (YES( | Is there a risk of crushing from loss of stability? | (YES( | Stability Hazard HME7 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Crane overload Chain sling Eye bolt overload Scaffold overload Hopper overfill | (YES( | Is there a risk of crushing from overload due to mechanical failure? | (YES( | Overload Hazard HME8 |

HA Hazards associated with harmful agents

| Are radioactive substances involved? | (YES( | Is there a risk of exposure to the substance or its radiation? | (YES( | Radioactive Hazard HA1 |
| --- | --- | --- | --- | --- |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Are biological materials involved? | (YES( | Is there a risk of infection? | (YES( | Biological Hazard HA2 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Are other hazardous substances or fumes, mists involved? | (YES( | Are the substances hazardous by CHIP or listed in EH40? | (YES( | Chemical Hazard HA3 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Are cryogenic liquids or inert gases involved? | (YES( | Is there a risk of asphyxiation? | (YES( | Asphyxiation Hazard HA4 |
| ( ( |  | ( NO ( | ( ( ( |  |
| ( NO ( |  | Is there a risk of cold burns or hypothermia or damage to equipment? | (YES( | Low temperature hazard HA5 |
| ( ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Is ionising (X-ray equipment) radiation involved? | (YES( | Is there a risk of exposure to radiation | (YES( | Ionising radiation Hazard HA6 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Are lasers involved? | (YES( | Is there a risk of exposure to laser beam? | (YES( | Laser Hazard HA7 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Is other non-ionising radiation (visible light, uv, ir, microwave) involved ? | (YES( | Is there a risk of exposure to the non-ionising radiation? | (YES( | Non-ionising radiation Hazard HA8 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Is noise involved? | (YES( | Is the level of noise excessive? | (YES( | Noise Hazard HA9 |

HMW Hazards associated with methods of work

| Examples of Methods of Work Hazards |
| --- |
| ( |
| Carrying Hot / cold loads Lifting Live loads - animal/person Lowering Pulling Pushing Rough loads | (YES( | Is there a risk of back injury, hernia, damage to hands, etc? | (YES( | Manual Handling Hazard HMW1 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Bricklaying Keyboard work Production line tasks Using hammer and chisel Using screwdriver | (YES( | Is there a risk of work related upper limb disorders? | (YES( | Repetitive Movements Hazard HMW2 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Display screen equipment (DSE)? | (YES( | Is there a risk of work related upper limb disorders or eye strain? | (YES( | Display Screen Hazard HMW3 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Other work station set up Seated work Work above head height Work at floor level | (YES( | Is there a risk of work related upper limb disorders, stress, etc? | (YES( | Posture Hazard HMW4 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Transport in road vehicles | (YES( | Are passengers carried? | (YES( | Transport Hazard HMW5 |
|  |  | ( NO ( | ( ( ( |  |
|  |  | Are dangerous goods carried? | (YES( | Transport of Dangerous Goods Hazard HMW6 |

HO Other types of hazard

| Bees Bull Dog Fleas Snake | (YES( | Is there a risk of bite, sting, crushing, etc? | (YES( | Attack by animals Hazard HO1 |
| --- | --- | --- | --- | --- |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Angry customer Angry student Criminal attack Drug abuser Drunken person Mentally ill person | (YES( | Is there a risk of injury, illness, post trauma stress disorder? | (YES( | Attack by people Hazard HO2 |
| ( NO ( | ( NO (( ( | ( ( ( ( | ( ( ( |  |
| Flash flood Lightning | (YES( | Is there a risk of various injuries, illnesses? | (YES( | Natural hazards Hazard HO3 |

This page is intentionally blank

APPENDIX 2

| Assessment Number |  |
| --- | --- |

Hazard and Risk Assessment Summary

| School/Dept |  |  | Location of Activity |  |  | Date of Assessment |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Assessor |  |  | Activity Assessed |  |
|  |  |  | (Attach protocols) |  |

| Assessment of Hazard and Risk | Control Measures Required |
| --- | --- |
| HAZARD (List only hazards from which there is a significant risk of serious harm under foreseeable conditions) | PERSONS AT RISK (See key, | PERSONAL HARM? | LIKELIHOOD of HARM? |  |
|  | Indicate number) | F | Mj | Mn | Y | Pr | Po | R |  |

| Key | PERSONS AT RISK |  | PERSONAL HARM? |  | LIKELIHOOD |  | Risk Significance | Date for Review |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Ug | Undergraduate |  |  |  |  |  | F | Fatality |  | Y | Yes/ Very High |  |  |  |  |  | Y | Pr | Po | R |  |  |  |  |  |
|  | Pg | Postgraduate |  |  |  |  |  | Mj | Major Injury |  | Pr | Probable |  |  |  |  | F | ( | ( | ( | ( |  | ( | = Significant risk |  |  |
|  | S | Staff |  |  |  |  |  | Mn | Minor Injury |  | Po | Possible |  |  |  |  | Mj | ( | ( | ( | ( |  |  |  |  |  |
|  | C | Contractor |  |  |  |  |  |  |  |  | R | Remote |  |  |  |  | Mn | ( | ( | X | X |  | X | = Insignificant risk |  |  |
|  | V | Visitor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Pa | Patient |  |  | Major Injury: | Loss of or broken limb |  |  |
|  | Pu | General Public |  |  |  | Loss of or damaged eye |  |  |
|  | Yp | Young Person |  |  |  | Loss of consciousness |  |  |
|  | Nm | New/Expectant Mother |  |  |  | Acute illness needing medical treatment | g:\aww7text\guidance\17ra.doc |  |
|  |  |  |  |  |  | Permanent ill health or disability | 19.12.00 |  |

Continuation page

| Assessment of Hazard and Risk | Control Measures Required |
| --- | --- |
| HAZARD (List only hazards from which there is a significant risk of serious harm under foreseeable conditions) | PERSONS AT RISK (See key, | PERSONAL HARM? | LIKELIHOOD of HARM? |  |
|  | Indicate number) | F | Mj | Mn | Y | Pr | Po | R |  |

# Footnotes

The Management of Health and Safety at Work Regulations 1999

E.g.  The Control of Substances Hazardous to Health Regulations 1999