Health and Safety Guidance

SAFE USE OF LASERS

GUIDANCE/18/SUL/01

Lasers come in various shapes and forms, they do not all have the same capabilities or damaging potentials.  They have many uses in teaching, research, manufacturing, medicine, dentistry, shop checkouts and most commonly at work in the office.  Lasers emit radiation as narrow concentrated beams of light, not necessarily visible to the human eye.  The optical and skin hazards presented by lasers vary markedly according to the wavelength and power of the output.  The hazards of lasers are often associated with the ability of the laser to damage eyesight or burn skin, but quite often the radiation or optical hazards are not the ones that present the greatest risk.

University Health and Safety Policy (UHSP/0/99) requires Heads of Budget Centres to identify risks and take appropriate action to eliminate or control those risks. This guidance should be read in conjunction with the University's Health and Safety Policy: - RADIATION SAFETY - Ionising and Non-ionising, UHSP/13/RADS/98 and Health and Safety Guidance: - Guidance for Risk Assessment (current list available http://www.bham.ac.uk/SafetyUnit/univ/uhspdocs.html).

This document is intended to help Budget Centre compliance with Health and Safety Policy. The guidance is to aid in the identification of the hazard, to assist in assessing the risk and outline control measures available.

Further information and advice may be obtained from the Health and Safety Unit.

April 2001

GUIDANCE/18/SUL/01

CONTENTS

|  | Page |
| --- | --- |
| INTRODUCTION | 1 |
| GUIDANCE |  |
| 1. IMPLEMENTATION OF THE RADIATION POLICY | 1 |
| 2. ARRANGEMENTS WITHIN BUDGET CENTRES | 1 |
| 3. HAZARD CLASSIFICATION FOR LASERS | 2 |
| 4. HAZARD/RISK ASSESSMENT | 3 |
| Summary of pathological effects associated with excessive exposure to light (Table1) | 3 |
| 5. SAFETY PRECAUTIONS AND SCHEMES OF WORK | 4 |
| General Overview on Laser Hazard/Risk Assessment | 4 |
| Maximum Permissible Exposure Calculations | 6 |
| 6. PERSONAL PROTECTION | 7 |
| 7. MEDICAL SUPERVISION | 7 |
| 8. EMERGENCY EYE EXAMINATIONS – ACCIDENTAL EXPOSURE | 8 |
| 9. LASER POINTERS | 8 |
| 10. DISPLAY LASERS | 8 |
| 11. REFERENCES | 8 |
| APPENDIX 1 |  |
| Laser Inventory proforma | 11 |
| APPENDIX 2 |  |
| Use of Class 1M, 2M, 3R and 3A lasers – Hazard/Risk Assessment proforma | 12 |
| APPENDIX 3 |  |
| Use of Class 3B/4 lasers – Hazard/Risk Assessment proforma | 13 |
| APPENDIX 4 |  |
| Example Laser Safety Scheme of Work | 17 |
| APPENDIX 5 |  |
| Summary of user precautions (Table 2) | 25 |
| APPENDIX 6 |  |
| The safe use of laser pointers | 27 |
| APPENDIX 7 |  |
| Emergency Procedure | 28 |

INTRODUCTION

The word laser is an acronym for Light Amplification by the Stimulated Emission of Radiation. The  ‘light’ produced by a laser, a form of non-ionising optical radiation, has a unique combination of spatial coherence (all the waves are in phase); monochromaticity (i.e. have just one colour or a narrow bandwidth) and usually high collimation (i.e. low angular divergence such that the beam does not ‘spread out’ significantly with distance).  This combination of characteristics distinguishes laser radiation from all other light sources.

This guidance outlines the recommendations for laser safety contained in the British Standard BS EN 60825:1 1994 Safety of Laser products. Part 1 – Equipment Classification, requirements and User’s Guide and associated amendments.  This revision has been produced following a review of guidance available and recent changes made (IEC Amendment 2 Jan 2001) to the laser classification system.  The previous classification system, which was based on five classes (1, 2, 3A, 3B & 4), has been replaced with a new system of seven classes (1, 1M, 2, 2M, 3R, 3B & 4).  It applies to all lasers, except Class 1, in the University and includes all homemade lasers, those bought outside, and those brought to the University from other establishments even for short periods.

This document in conjunction with the University's Radiation Policy (ref.: UHSP/13/RADS/98) replaces the document Laser Safety Rules: USP/90/LR/1 which should be destroyed.

GUIDANCE

1.  IMPLEMENTATION OF THE RADIATION POLICY

Lasers should be operated so that individuals are not exposed to levels in excess of the "Maximum Permissible Exposure Levels" given in Amendment 2 of BS-EN 60825-1:1994.  This can often be established by calculations, but if a measurement of intensity is necessary, the Health and Safety Unit should be contacted.

The general safety procedures for laser operation should be applied.  In particular:

- the lowest power laser suitable for the purpose should be used;

- for undergraduate experiments, "Approved Schemes of Work" must be drawn up and must include specific instructions on safety that must be explained to the students before they start their experiments;

- all persons who use lasers, except those which are Class 1, must have received appropriate instruction in laser safety before commencing work with lasers or use of lasers.

2.  ARRANGEMENTS WITHIN BUDGET CENTRES

Heads of Budget Centres in which lasers are used should ensure that:

- where lasers are used, a general risk assessment is carried out to identify relevant hazards and the control measures and any significant residual risk;

- a Laser Safety Supervisor/Officer is appointed in each School/Department, where appropriate;

- lasers are safely operated;

- all persons whose work either directly involves lasers or who have to enter areas in which lasers are used know the name of the Laser Safety Supervisor/Officer;

- any individual working with lasers has received adequate instruction in laser safety and is made aware of the requirements of this guidance;

- an inventory list of lasers (excluding Class 1 lasers) is kept current on the form attached at Appendix 1;

- lasers are classified and labelled;

- rooms, places, or total enclosures, in which lasers are used, are marked with the appropriate warning signs.

Supervisors should:

- ensure that work under their supervision has been properly assessed;

- ensure that appropriate control measures are used and procedures followed and that persons whom they are supervising are aware of the risks and procedures in the event of accidents or incidents;

- provide appropriate supervision and monitor compliance with policy and local working rules;

- assess the competence of persons under their control to work safely and where appropriate arrange for any necessary training.

3.  HAZARD CLASSIFICATION FOR LASERS

Lasers produce electromagnetic radiation at wavelengths extending from 180nm in the ultra-violet, through the visible (400-700nm), and the near infrared (700-1400nm), to the far infrared (1400nm - 1mm).  Thus, the light emitted can be either visible or invisible.  Lasers can be operated in a number of different modes.  Some lasers produce a continuous output and are known as continuous wave or CW lasers.  The power outputs of CW lasers are usually expressed in terms of watts (W).  Others operate in a pulsed mode producing short bursts of radiation. The power of the laser output can vary from less than 1mW to many watts in some CW devices. The energy output of pulsed lasers is generally expressed in joules (J) per pulse.

Because of the wide ranges possible for the wavelength, energy content and pulse characteristics of a laser beam, the hazards arising in its use vary widely. It is impossible to regard lasers as a single group to which common safety limits can apply.  A system of laser classification is used to indicate the level of laser hazard; this has been derived from the Maximum Permissible Exposure Levels (MPEL).  The previous classification system, which was based on five classes (1, 2, 3A, 3B & 4), has been replaced with a new system of seven classes (1, 1M, 2, 2M, 3R, 3B & 4) and these are described below.

Class 1:  Lasers that are safe under reasonably foreseeable conditions of operation, either because of the inherently low emission of the laser itself, or because of its engineering design such that it is totally enclosed and human access to higher levels is not possible under normal operation.

Class 1M:  Lasers emitting in the wavelength range from 302.5 nm to 4 000 nm which are safe under reasonably foreseeable conditions of operation, but may be hazardous if the user employs optics within the beam.  This class applies to:

- diverging beams if the user places optical components within 100 mm from the source to concentrate (collimate) the beam; or

- a collimated beam with a diameter larger than the diameter specified in the published standard for the measurements of irradiance and radiant exposure.

Class 2:  Lasers that emit visible radiation in the wavelength range from 400 nm to 700 nm where eye protection is normally afforded by aversion responses, including the blink reflex. This reaction may be expected to provide adequate protection under reasonably foreseeable conditions of operation including the use of optical instruments for intrabeam viewing.

Class 2M:  Lasers that emit visible radiation in the wavelength range from 400 nm to 700 nm where eye protection is normally afforded by aversion responses including the blink reflex. However, viewing of the output may be more hazardous if the user employs optics within the beam.  This class applies to:

- diverging beams where the user places optical components within 100 mm from the source to concentrate (collimate) the beam, or

- a collimated beam with a diameter larger than the diameter specified in the published standard for the measurements of irradiance and radiant exposure.

Class 3R:  Lasers that emit in the wavelength range from 302.5 nm to 1 mm where direct intrabeam viewing is potentially hazardous but the risk is lower than for Class 3B lasers, and fewer manufacturing requirements and control measures for the user apply than for Class 3B lasers. The accessible emission limit is within five times the Accessible Emission Limit (AEL) of Class 2 in the visible wavelength range from 400 nm to 700 nm and within five times the AEL of Class 1 for other wavelengths.

Class 3B:  Lasers that are normally hazardous when direct intrabeam exposure occurs (i.e. within the Nominal Ocular Hazard Distance, which is the distance at which the beam irradiance or radiant exposure equals the appropriate MPE).  Viewing diffuse reflections is normally safe.

Class 4:  Lasers that are also capable of producing hazardous diffuse reflections. They may cause skin injuries and could also constitute a fire hazard.  Their use requires extreme caution.

Note:  IEC 60825-1 Amendment 2, which includes the new classification system, was published in January 2001 effective from 1st January 2001.  However, manufacturers can still use the previous classification scheme until the 1st January 2004.  Laser systems that are already classified and labelled, within the University, do not have to be re-classified for the present time.  There are no major differences between schemes to the classification of both Class 3B and 4 lasers systems.  Details of the previous classification system used can be found in the CVCP Notes of Guidance, Part 2:1 Lasers Revised 1992.

4.  HAZARD/RISK ASSESSMENT

Excessive exposure to laser radiation will result in biological damage.  The main areas at risk are the eye and the skin.  Visible and near infra-red lasers are a special hazard to the eye because the very properties necessary for the eye to be an effective transducer of light result in high radiant exposure being presented to highly pigmented tissues.  In general terms, the skin can tolerate a great deal more exposure to laser beam energy than can the eye.  The biological effect of irradiation of skin by lasers operating in the visible (400 nm to 700 nm) and infrared (greater than 700 nm) spectral regions may vary from a mild erythema to severe blisters.  A summary table of biological effects is given below.

| CIE Spectral regiona | Eye | Skin |
| --- | --- | --- |
| Ultra-violet C (180 nm to 280 nm) | Photokeratitis | Erythema (sunburn) Accelerated skin ageing process Increased pigmentation |  |
| Ultra-violet B (280 nm to 315 nm) |  |  |  |
| Ultra-violet A (315 nm to 400 nm) | Photochemical cataract | Pigment darkening Photosensitive reactions | Skin burn |
| Visible (400 nm to 780 nm) | Photochemical and thermal retinal injury |  |  |
| Infra-red A (780 nm to 1 400 nm) | Cataract, retinal burn |  |  |
| Infra-red B (1.4 m to 3,0 m) | Aqueous flare, cataract corneal burn |  |  |
| Infra-red C (3.0 m to 1 mm) | Corneal burn only |  |  |
| a The spectral regions defined by the CIE are shorthand notations useful in describing biological effects and may not agree perfectly with spectral breakpoints in the MPE tables. |

Table.1 – Summary of pathological effects associated with excessive exposure to light

Many regard the laser beam as the main hazard and risk; this is not necessarily the case.  Atmospheric contamination, electrical (high voltage), cryogenic coolants, material processing, toxic dyes and mechanical associated hazards may in reality pose the greater risk.

Special considerations apply to the use of lasers for medical and dental work, and lasers for display purposes.  Such work must be very carefully planned and controlled.

Before the appropriate controls can be selected and implemented, laser hazards must be identified and evaluated together with non-beam hazards that may be present.  The laser's capability of injuring personnel and the environment and the way in which the laser or lasers are to be used needs consideration.  A risk assessment must be carried out to establish the significant risks and whether suitable and effective controls exist.  To assist in identifying hazards and risk control measures, a proforma has been developed for Class 1M, 2M and 3R/3A  (Appendix 2) and Class 3B/4  (Appendix 3) laser systems.

5.  Safety precautions and Schemes of Work

Class 1 laser systems do not require any special precautions or formal control measures.  The exception is where such a system consists of an enclosed Class 3B/4 laser and access is required for the purpose of maintenance or alignment.  In this case, it should be included on the laser inventory and there should be a scheme of work for that activity.

For Class 1M and 2M products, viewing can be hazardous if an optical instrument is used.  The use needs to be assessed and the appropriate control measures detailed.

For Class 2 laser products, protection is based on exposure being limited by the natural aversion response.  Simple measures such as information to users not to deliberately aim the beam at people, stare into the beam and terminate the beam at the end of its useful path will be sufficient.

Only Class 1 or Class 2 laser products should be used for demonstration, display or entertainment in unsupervised areas. The use of other classes of lasers for such purposes should be permitted only when the laser operation is under the control of an experienced, well-trained operator and/or when spectators are prevented from exposure to levels exceeding the applicable MPE.

For Class 3R products, the control measures will include:

- terminating the beam at the end of its useful path;

- avoiding beam paths at eye level and where practical enclosing it;

- instruction and training to an appropriate level;

- taking care to prevent unintentional specular reflections;

- where non-visible wavelengths are used an emission indicator device is to be used to indicate the laser is energised.

For Class 3B or 4 lasers, each laser laboratory or experiment, as appropriate, should have its own Laser Scheme of Work.  This general scheme of work should summarise the conclusions of the risk assessment, the name of the local laser safety supervisor/officer and the permitted authorised users, the extent of any designated area and make reference to specific protocols available that are to be used.  Areas need to be defined and warning signs used.  The scheme of work should be displayed in a prominent position or readily available within a laboratory folder.

An example of a scheme of work is given in Appendix 4.  It is recommended that this format is used and available in a folder in the laboratory.  Table 2 (Appendix 5) contains a summary of recommended user precautions.

## General Overview on Laser Hazard/Risk Assessment

Class 3B and Class 4 lasers are capable of causing eye injury to anyone who looks directly into the beam or its specular reflections. Diffuse reflections of a high-power laser beam can also cause permanent eye damage. High-power laser beams can burn exposed skin, ignite flammable materials and heat materials that release hazardous fumes, gases, debris or radiation. Equipment and optical apparatus required to produce and control laser energy may also introduce additional hazards associated with high voltage, high pressure, cryogenics, noise, other forms of radiation, flammable materials and toxic fluids. Each proposed experiment or operation involving a laser must be evaluated to determine the hazards involved and the appropriate safety measures and controls required.

Initial Training

The Laser Safety Video, supported by a discussion led by the School Laser Supervisor/Officer, provides basic instruction in laser hazards, and their control.  All Class 3B/4 laser workers must attend a screening of this video before commencing any laser work and also be familiar with the schemes of work/protocols provided.  A record of attendance should be kept as a record.

Laser Controls

The simplest rule to follow to avoid eye injury is not to look directly into a laser beam or its specular reflection, regardless of the laser's power or classification or the laser eyewear being worn.  A Maximum Permissible Exposure, MPE, should be calculated for laser sources present in a laser system based on the radiated wavelength(s), output power(s) or energy(ies), and, if appropriate, the pulse duration and pulse repetition rate. MPEs apply to a specific combination of these parameters and will usually change if any of the parameters changes. Engineering and administrative controls should be used to keep exposures below the MPE whenever practical. Skin protection and laser eyewear should be used only where engineering and administrative controls are impractical.

When it is not practical to fully enclose the laser beam path, the non-enclosed laser beam, any strong reflections (i.e. that exceed the Class 1 MPE) and any strong transmissions through mirrors should be terminated at the end of their useful paths using devices such as backstops, shields, or beam dumps.  The addition of beam-stopping panels to the sides of optical tables is recommended as a general safeguard against inadvertently misaligned beams.

The laser system should be securely mounted to maintain the beam in a fixed position during operation and to limit beam movement during adjustments. Beams should not be directed toward entry doors. Primary beams and dangerous reflections should be enclosed or confined to a well-defined area of use.

Reflection Control

Wherever possible materials with a low reflective coefficient that diffusely reflect laser radiation shall be used in place of specularly reflective surfaces (typical black anodised surfaces reflect more than 10% of incident light). Specularly reflective surfaces that are needed in the vicinity of beams should be enclosed or shielded to minimise personnel exposure. Non-reflective tools should always be used. Jewellery and other reflective personal items should be removed during laser alignment or other work near laser beams.

Laser accidents

Some common unsafe practices that are causes of preventable laser accidents are:

- Misaligned optics and upwardly directed beams - pay particular attention to periscopes, and reflections from windows and beam splitters/combiners.

- Improper methods of handling high voltage.

- Available eye protection not used.

- Lack of protection from non-beam hazards.

- Failure to follow safety protocols.

- Bypassing of door interlocks and laser housing interlocks.

- Insertion of reflective materials into beam paths.

- Lack of pre-planning.

- Operating unfamiliar equipment.

- Wearing the wrong eyewear.

- Not wearing protective eyewear during alignment procedures.

Laser alignment

About sixty percent of laser accidents in research settings occur during the alignment process.  Laser alignment guidelines to help prevent accidents should include:

- Restricted access, unauthorised personnel must be excluded from the room or area.

- Laser protective eyewear will be worn, where practicable.

- Class 3B/4 laser users must have received appropriate training and instruction.

- The individual who moves or places an optical component on an optical table is responsible for identifying and terminating each and every stray beam coming from that component.

- To reduce accidental reflections, watches and reflective jewellery should be taken off before any alignment activities begin.

- Beam blocks must be secured.

- Checking the stability and rigidity of all optical mounts.

- When the beam is directed out of the horizontal plane, it must be clearly identified.

- A solid stray beam shield must be securely mounted to prevent accidental exposure to the laser beam.

- All new laser users must receive a thorough introduction to the laser use area by an authorised laser user of that area.

- The lowest possible/practical power must be used during alignments.

- When possible, a coarse alignment should be performed with a HeNe or cw diode alignment laser.

- Beam paths at a safe height, below eye level when standing or sitting. Not at a level that tempts one to bend down and look at the beam.

Controls for Hazards in Laser Area

Many hazards (other than laser radiation) that can be found in the laser area must be adequately assessed and risks controlled.  Hazards include electrical equipment and systems, lighting, pressure vessels and systems, ionising radiation, hazardous materials, non-coherent radiation, dyes and dye solutions.

## Maximum Permissible Exposure Calculations

The main criterion for assessing the optical safety of a given situation is the maximum permissible exposure (MPE).  The MPE is that level of laser radiation to which, under normal circumstances, persons may be exposed without suffering adverse effects. The MPE levels represent the maximum level to which eye or skin can be exposed without consequential injury immediately or after a long time and are related to the wavelength of the radiation, the pulse duration or exposure time, tissue at risk and, for visible and near-infra-red radiation in the range 400 nm to 1400 nm, the size of the retinal image. MPE levels are specified in clause 13 of BS EN 60825-1:1994 Safety of laser products, Part 1 Equipment classification, requirements and user’s guide.   LaserSafe PC is a software package that can be used to assess the hazards of a given situation.  This package can be used to calculate the MPE.   Planned ocular exposure to laser light should not exceed the MPE.

In carrying out a risk assessment for the optical hazard, it is important to know of the effects of laser radiation on biological tissue. These are described in Annex B of BS EN60825-1: 1994.  For the purposes of categorising potential injuries the following can be taken as an approximate guide:

SEVERITY OF INJURY can be classified as:

|  | No Injury: | Exposure below the MPE. |
| --- | --- | --- |
|  | Minor Injury: | Ocular exposure up to 10 times the MPE and skin exposures up to 100 times the MPE (Injuries will normally be reversible). |
|  | Major Injury: | Ocular exposure in excess of 10 times the MPE and skin exposures in excess of 100 times the MPE (Injuries will normally be irreversible). |
|  | Death: | Injuries resulting from laser exposure are not normally considered life threatening. Exposure to associated non-optical hazards, such as high voltages, and toxic chemicals, may sometimes have fatal consequences. |

Whenever there is a risk of laser exposure to levels above the specified MPEs, safety eyewear is one of the commonest and important elements of personal laser protection. Safety eyewear should be regarded as a last line of defence against exposure to laser radiation, to be adopted only after a full safety evaluation has been carried out and other means of affording protection have been considered. Its use should not be regarded as a convenient alternative to proper engineering controls or thorough hazard assessments. Protection by safety eyewear is effected by incorporating optical filters to reduce the level of eye exposure for a specified wavelength and power or pulse energy, to below the limiting MPE. The filters required to do this are specified by a quantity called Optical Density (OD); this is defined as the logarithm (to the base 10) of the ratio of incident power to transmitted power. Hence, a filter of Optical Density 6 will transmit 1 µW of an incident 1W beam. LaserSafe PC provides a Nominal OD result, for any given situation as a guide to the choice of protection in that situation. Eyewear providing a smaller level of OD will not offer sufficient protection, a larger value of OD is generally to be preferred. When choosing the eyewear, it is important to consider not only the ability of the eyewear to attenuate the incident radiation but also to have a damage threshold high enough to withstand the maximum possible exposure long enough for avoiding action to be taken. Safety eyewear should never be relied on to provide protection against deliberate exposure to a laser beam but should be regarded as a means of providing some protection against accidental exposure.

6.  Personal Protection

The need to use personal protection against the hazardous effects of laser operation should be kept to a minimum using engineering design, beam enclosures and administrative controls.

Eye protection which is designed to provide adequate protection against specific laser wavelengths should be used in all hazard areas where Class 3R laser products emitting energy outside of the 400 nm to 700 nm wavelength range, Class 3B or Class 4 lasers are in use (see clause 12).  Exceptions to this are:

- when engineering and administrative controls are such as to eliminate potential exposure in excess of the applicable MPE;

- when, due to the unusual operating requirements, the use of eye protection is not practicable. Such operating procedures should only be undertaken with the approval of the Laser Safety Supervisor/Officer.

Eye protection supplied must provide adequate attenuation at the appropriate wavelength and comply with the requirements of BS EN 207 and 208. BS En 207 relates to normal use of eyewear and is the specification for Filters and Equipment used for Personal Eye-Protection Against Laser Radiation. BS EN 208 relates to maintenance and adjustment work and is the specification for Personal Eye-Protection Used for Adjustment Work on Lasers and Laser Systems.  Personal protective equipment should be personal, i.e., it should be appropriately cleaned between users, or each user have their own.

Special attention has to be given to the resistance and stability against laser radiation when choosing eyewear or protective clothing for protection against Class 4 lasers.

7.  Medical Supervision

Eye examinations for laser users are not now recommended as a part of a safety programme.  The value of routine examinations for Class 3B/4 laser users has been reviewed; it was agreed that routine examinations are of little value and that the only reason for these is for medical legal reasons.

Where there has been an apparent or suspected ocular exposure a medical examination by a qualified specialist needs to be carried out.  This is dealt with in the next section.

8.  Emergency Eye Examinations - Accidental Exposure

In the event of an accident or incident involving suspected injury to the eye(s), an emergency examination should be carried out as soon as possible and within 24 hours.  The injured party should be taken to the Accident and Emergency Department, Birmingham & Midland Eye Centre, City Hospital, Birmingham  (tel.:  0121 507 6780 (A&E)  or  0121 554 3801  (University short code  1-017)).  Budget Centres must have suitable arrangements in place and must ensure that all persons working with Class 3/4 lasers are aware of the action to take in the event of an accident/incident.  Each Class 3/4 laser should have a card or proforma that can be taken with the casualty to Hospital.  An example of such a card and the information that will be required in the event of an accident/incident is given in Appendix 7.

Where an emergency eye examination is required, the University Laser Safety Adviser and School/Departmental Laser Supervisor/Officer will carry out a detailed investigation of the accident/incident.

All accidents and incidents, whether involving an emergency examination or not, must be reported promptly to the Health and Safety Unit using the appropriate current University Accident/Incident Report Form.

9.  Laser pointers

Lasers are commonly available and some are for presentation purposes as pointers.  These laser pointers are classified at a level above Class 1 and therefore in some circumstances can cause harm, particularly by staring into the beam.  Normally the eye's blink reflex affords protection to short duration accidental exposure.  Where laser pointers are used instructions on their safe use should be readily available; Appendix 6 is an example of the instructions which should be provided.

10.  Controlling the Radiation Safety of Display Laser Installations

Most lasers that are used in entertainment and public exhibition work emit beams that are bright enough to cause significant eye injury.  In cases where the radiant beam powers exceed 0.5 Watt, skin burns may also be a result of exposure.

Organisers of events at which lasers are used for display should:

- ensure that a general risk assessment has been carried out to identify relevant hazards and appropriate control measures are in place, in advance of any display;

- ensure that any statutory notifications have been carried out;

- comply with any arrangements and conditions set out by the University.

Where the relevant precautions above are not implemented for a particular class of laser, a justification needs to be made in the appropriate documentation/protocol for the experiment/laboratory.

11. References

British Standard EN 60825-1: 1994  Safety of laser products, Part 1:  Equipment classification, requirements and user's guide.

British Standard EN 60825-2: 1994  Safety of laser products, Part 2 :  Safety of optical fibre communications systems.

British Standard EN 207: 1999  En 207: 1999  Filters and Equipment used for Personal Eye-Protection Against Laser Radiation.

British Standard En 208: 1994  Personal Eye-Protection Used for Adjustment Work on Lasers and Laser Systems.

Hazards of Optical Radiation.  A Guide to sources, uses and safety.  A F McKinlay, F Harlen and M J Whillock.  1988  ISBN 0-85274-265-7

The radiation safety of lasers used for display purposes - Health & Safety Executive publication HS(G)95  1996 ISBN 0 7176 0691

The use of lasers in the Workplace.  A practical guide.  International Labour Office, Geneva.  Occupational Safety and Health Series No. 68.  1993.  ISBN 92-2-108260-1

CVCP Safety in Universities: Notes of Guidance Part 2:1 Lasers Revised 1992.  CVCP October 1992 ISBN 0948890 19 7

This Page is intentionally blank

THE UNIVERSITY OF BIRMINGHAM

LASER INVENTORY

| Location | Manufacturer and Model | Type | Wavelength | Power Output (for CW) or Pulse Power, duration and repetition rate | Laser Class |
| --- | --- | --- | --- | --- | --- |

Note:  Do not include office based Class 1 laser products or equipment containing them i.e. Compact Disc/DVD players, laser printers etc.

| School/Department: | ………………………………………………………………. |
| --- | --- |
| Laser Supervisor/Officer: | ……………………………………………………………….. |
| Date: | ………………………………………………………………... |

THE UNIVERSITY OF BIRMINGHAM

USE OF CLASS 1M, 2M, 3R and 3A LASERS

HAZARD & RISK ASSESSMENT

| School/Dept |  |  | Assessment Number |  |
| --- | --- | --- | --- | --- |
| Assessor |  |  | Date of Assessment |  |

Eye protection is normally afforded by the aversion responses including blink reflex (exposure less than 0.25 seconds) and turning the head away. Magnifying viewing instruments are not to be used.  An eye hazard is possible if there is an exposure in excess of more than 0.25 seconds.  Risk of injury is low.  There is no skin or fire hazard.

| 1 |  | LOCATION AND VERY BRIEF DESCRIPTION OF THE WORK ACTIVITY |  |  |
| --- | --- | --- | --- | --- |

| 2 |  | LASER SPECIFICATION |  |
| --- | --- | --- | --- |
|  | Model: |  |  |
|  | Maximum Power |  |  |
|  | Wavelength Range |  |  |

| 3 |  | NON OPTICAL HAZARDS |  |
| --- | --- | --- | --- |
|  |  | Detail the significant risks and the control measures necessary for any non-optical hazard identified. | Hazard/Risk | Control Measure |

| 4 |  | CONTROL MEASURES |
| --- | --- | --- |

Users must ensure that they use these in a safe manner and do not expose themselves or others to the beam.  They are not to be modified in any way that will increase the power output.

| DO: ( | Follow the manufacturer's safety instructions. Take care when operating the laser system. Keep the laser 'on' only when necessary. Restrict unauthorised use. Terminate the beam at the end of its useful path. |
| --- | --- |
| DO NOT: | Do not point at or towards persons deliberately. Do not point at mirrored surfaces that may cause unplanned reflections. Never look into the laser aperture. Never look directly or stare into the beam/beam aperture when on. Never allow unauthorised use. Do not use optical viewing aids. |

| 5 |  | EMERGENCY CONTACT | NAME |  | PHONE |  |
| --- | --- | --- | --- | --- | --- | --- |

THE UNIVERSITY OF BIRMINGHAM

USE OF CLASS 3B & 4 LASERS – HAZARD & RISK ASSESSMENT

Class 3B and Class 4 lasers are capable of causing eye injury to anyone who looks directly into the beam or its specular reflections.  In addition, diffuse reflections of a high-power (Class 4) laser beam can produce permanent eye damage.  High-power laser beams (Class 4) can burn exposed skin, ignite flammable materials, and heat materials that release hazardous fumes, gases, debris, or radiation. Equipment and optical apparatus required to produce and control laser energy may also introduce additional hazards associated with high voltage, high pressure, cryogenics, noise, and other forms of radiation, flammable materials, and toxic fluids.  Thus, each proposed experiment or operation involving a laser must be evaluated to determine the hazards involved and the appropriate safety measures and controls required.

| School/Dept |  |  | Assessment Number |  |
| --- | --- | --- | --- | --- |
| Assessor |  |  | Date of Assessment |  |

| 1 |  | LOCATION OF THE WORK ACTIVITY |  |  |
| --- | --- | --- | --- | --- |

| 2 |  | LASER IDENTIFICATION AND SPECIFICATIONS Complete the following chart, list all lasers, including low power alignment lasers: |
| --- | --- | --- |
|  | Laser 1 | Laser 2 | Laser 3 | Laser 4 |
| Type: |  |  |  |  |
| Manufacturer: |  |  |  |  |
| Model: |  |  |  |  |
| Serial # |  |  |  |  |
| Maximum Power |  |  |  |  |
| Maximum Pulse Energy |  |  |  |  |
| Wavelength Range |  |  |  |  |
| Wavelength Used |  |  |  |  |
| Power Used |  |  |  |  |
| Pulse Energy Used |  |  |  |  |
| Pulse Length |  |  |  |  |
| Pulse Repetition Rate |  |  |  |  |
| Beam Diameters (x,y) |  |  |  |  |
| Beam Shape (e.g. ellipse, box, circular) |  |  |  |  |
| Beam Divergence (x,y) |  |  |  |  |
| LASER CLASSIFICATION |  |  |  |  |

| 3 |  | DESCRIPTION OF ACTIVITY OR RESEARCH PROJECT Provide a brief description of the laser set up, its purpose and operational parameters. |
| --- | --- | --- |
|  |  | DURATION OF ACTIVITY/PROJECT Is the work ongoing or for a limited period? |  |

| 4 |  | IDENTIFICATION OF HAZARDS ADDITIONAL TO THE LASER HAZARD(S) |
| --- | --- | --- |
|  |  | Electrical Hazards Most lasers contain high-voltage power supplies and often large capacitors/capacitor banks that store lethal amounts of electrical energy. |
|  |  | Are any special precautions/procedures required? | Yes / No |
|  |  | Laser Dyes Laser dyes are often toxic and/or carcinogenic chemicals dissolved in flammable solvents |
|  |  | Are laser dyes used? | Yes / No |
|  |  | Give details, if yes. |
|  |  | Compressed and Toxic Gases Hazardous gases may be used in laser applications, i.e., excimer lasers (fluorine, hydrogen chloride). |
|  |  | Are compressed gases and/or toxic gases used? | Yes / No |
|  |  | Give details, if yes. |
|  |  | Cryogenic Fluids Cryogenic fluids can create hazardous situations. Adequate ventilation must be provided. |
|  |  | Are cryogenic fluids used? | Yes / No |
|  |  | Give details, if yes. |
|  |  | Fumes/Vapours/Laser Generated Air Contaminants from Beam / Target interaction When laser beams are sufficiently energised to heat up a target, the target may vaporise, creating hazardous fumes or vapours that may need to be captured or exhausted. |
|  |  | Is there a potential for fumes/vapours/Laser Generated Air Contaminants? | Yes / No |
|  |  | Give details, if yes. |
|  |  | UV and Visible Radiation/ Plasma Emissions UV and visible radiation may be generated by laser discharge tubes, pump lamps or plasmas. The levels produced may be an eye and skin hazard. |
|  |  | Is there a potential for significant UV/visible radiation? | Yes / No |
|  |  | Explosion Hazards High-pressure arc lamps, filament lamps, and capacitors may explode if they fail during operation. Laser targets and some optical components also may shatter if heat cannot be dissipated quickly enough. |
|  |  | Is there an explosion hazard? | Yes / No |
|  |  | Give details, if yes. |
|  |  | Ionising Radiation (X-rays) X-rays can be produced from two main sources, high voltage vacuum tubes of laser power supplies such as rectifiers, thyratrons, and electric discharge lasers. Any power supplies that require more than 15 kV may produce x-rays. |
|  |  | Is there an ionising radiation hazard? | Yes / No |
|  |  | Other potential hazards not identified above. Please specify |

RISK ASSESSMENT and  CONTROL MEASURES

| 5 |  | PERSONS WHO MAY BE AT RISK |  | Specified Authorised Laser Users Project Supervisors |
| --- | --- | --- | --- | --- |

| 6 |  | MEASURES TO REDUCE LEVEL OF RISK (LASER HAZARD) |
| --- | --- | --- |
|  |  | Are open or partially enclosed beams used during the following? | 1. Initial setting up and beam alignment; 2. Addition of new optical elements/lasers; 3. Day to day operation 4. Maintenance | YES / NO / n/a YES / NO / n/a YES / NO / n/a YES / NO / n/a |
|  |  | Are there protocols/procedures to control risks from the optical (and if applicable, skin) hazard? | 1. Initial setting up and beam alignment; 2. Addition of new optical elements/lasers; 3. Day to day operation 4. Maintenance | YES / NO / n/a YES / NO / n/a YES / NO / n/a YES / NO / n/a |
|  |  | List the operating protocols with references/dates/location. ALL OPEN BEAM WORK MUST HAVE AN APPROPRIATE PROTOCOL/OPERATING PROCEDURE |  |

| 7 |  | INSTRUCTION/TRAINING Authorised laser users must receive appropriate training and instruction |  |
| --- | --- | --- | --- |
|  |  | Specify the instruction and training arrangements. |  |
|  |  | A list of authorised laser users is to be displayed |  |

| 8 |  | PROTECTIVE EYEWEAR |  |
| --- | --- | --- | --- |
|  | Number available | Location | Manufacturer | Optical Density | Wavelength |

| 9 |  | ASSESSMENT OF RISK (ASSOCIATED HAZARDS identified in Section 4) |
| --- | --- | --- |
|  |  | Detail the significant risks and the control measures necessary (i.e. by reference to protocols/procedures or safety manual). For hazardous substances, specify the location of the appropriate COSHH assessments. | Hazard/Risk | Control Measure |

| 10 |  | MONITORING |  |
| --- | --- | --- | --- |
| Performance of control measures, |  |
| It is the individual responsibility of each laser operator to follow the guidelines on laser safety. Where control measures have failed or have been suspect then laser users should report these. Supervisors should monitor that users are complying with procedures as should the School and University Laser Safety Officers by carrying out periodic checks. |

| 11 |  | REVIEW |  |
| --- | --- | --- | --- |
| Enter the date or circumstances for review of assessment (3 years or the length of the particular project/worker if shorter.) |  |
| Where new lasers or components are introduced then these changes need to be assessed; protocols may need to be modified. A review would also be required where a new laser worker starts ensuring that they are informed of the relevant risks and protocols. |

| 12 |  | EMERGENCY ACTION |  |
| --- | --- | --- | --- |
| TO CONTROL HAZARDS | To stabilise situation e.g. turn off power source, etc. |
| Turn off power. |
| TO PROTECT PERSONNEL | Evacuation, protection for personnel, Special First Aid |  |
| Once power has been turned off the laser does not present an optical hazard to personnel in the area. |
| TO RENDER SITE OF EMERGENCY SAFE | POWER , VENTILATION |  |
| Turn off power. |

| 13 |  | EMERGENCY CONTACT | NAME | . | PHONE |  |
| --- | --- | --- | --- | --- | --- | --- |

# Example Laser Safety Scheme of Work

Name of School

Laboratory/Room/Activity

These guidelines have been prepared by..................................................

Before commencing work with Class 3B/4 lasers, you must read this document, and sign the sheet at the end to confirm this, and your agreement to abide by the protocols contained herein.

## Purpose and Structure of this document

The principal aim of this document is to outline the elements of good laser practice as they apply specifically to experiments currently being undertaken in the above laboratory. General aspects of laser safety are covered in sections of the manuals accompanying the lasers.

The document is structured as follows: at the top level (this sheet) an overall description is made of laser research activity in this laboratory. The user is then referred to a number of accompanying documents under two headings: Laser types in use and Safety Protocols.

## Description of Activity:

.......Description of  the activity/experiment and its purpose..............................

........................................

...................................................

Four types of situation have been identified which require separate safety protocols, where appropriate:

- setting up;

- adding new elements to;

- day-to-day operation of the experiment ; and

- maintenance of the laser system.

Separate sections dealing with each of these are to be included where appropriate.

## Lasers in use

......... Reference to completed Hazard/Risk Assessment proforma ...................................

.............................................

As a general rule all Class 3B/4 laser emissions are capable of causing severe eye damage if viewed directly, or as a specular (i.e., mirror-like) reflection. Control measures (careful planning, beam pipes, blocking of reflections, safety eyewear) must be taken to avoid this!

Authorised users of the above lasers are (to be named):

| Supervisor(s): | ........... |
| --- | --- |
| Student(s): | ........... |
| Postdoctoral fellow(s): | ............ |
| Other(s): | ........... |

There should be reference to this guidance in particular the General Overview on Laser Hazard/Risk Assessment and Maximum Permissible Exposure Calculations.

Laser safety protocol: Setting up

Definition

Setting up applies to the initial installation of a new experiment, and to major changes such as the addition of a new type of laser system, or, for example, a complete change of beam paths.

Protocol/Scheme of Work

Planning:

- The installation or changes should be discussed with a supervisor prior to operation of Class 3B/4 laser systems.

- In the case of a completely new experiment, the School Laser Safety Officer and/or the University Laser Safety Adviser must be consulted and invited to visit the lab.

- The laser beam paths and associated optics should be planned to minimise the possibility of stray reflections.

- Termination of each main laser beam should be planned.

- Provision of suitable laser safety eyewear should be addressed at this stage.

Initial safety checks:

- Before starting the Class 3B/4 lasers, beam paths should be inspected for any objects that should not be there.

- Laser warning signs should be activated, where installed and unauthorised persons excluded and doors closed.

- Alignment may be carried out by one or at most two authorised laser operators. No one else may be present in the room during this procedure and watches, bracelets and other reflective jewellery should be removed.

- Appropriate laser safety eyewear should be worn if practicable.  Visible or multi-wavelength alignment may have to be carried out without laser safety eyewear, as it would otherwise be impossible to visualise the laser beam on a card. In this case, extra caution must be exercised by the operator(s).

Initial alignment and suppression of stray reflections:

- Initial laser beam alignment should be performed with a Class II or I alignment laser (e.g., He-Ne or small cw diode laser). Remember that the final beam path may differ slightly due to dispersion (i.e., the beam path may be slightly wavelength-dependent)

- At this stage, each and every optic element in the beam path must be analysed for stray reflections. Initially this can be done by predicting the likely path of specular (i.e., non-diffuse) reflections and the actual reflections of the Class II/I alignment laser may also be used to help identify stray reflections.

- Suitable beam blocks, opaque at the appropriate wavelengths, must then be installed to block all these stray reflections.

- ‘Beam pipes’ should be installed at this stage to cover longer runs of laser beam, and especially any beams that leave the confines of the laser table. It is recognised that there may be some places where beam pipes are inappropriate, e.g. when the distance between optics is very short. Beam pipes should be designed to allow limited access to the beam for alignment checking without removal.

Alignment using Class 3B/4 lasers at low power

- The next stage of alignment using the Class 3B/4 lasers may be carried out only after obtaining the verbal permission of a supervisor.

- Alignment may be carried out by one or at most two authorised laser operators. No one else may be present in the room during this procedure and watches, bracelets and other reflective jewellery should be removed.

- Under no circumstances must direct viewing of the laser beam be attempted even if the beam has been attenuated.

- All optics should be checked for damage, and the stability of optics mounts verified prior to operation of laser.

- This next stage in alignment should be carried out using the lowest possible laser energy (e.g. operating a Nd:YAG laser on fixed-Q) at which it is possible to visualise the laser beam in an appropriate fashion. The method of visualisation is dependent on the wavelength: for UV or visible light, the beam can be viewed on a fluorescent card. An invisible infrared beam may be visualised using LCD heat sensitive paper or possibly using burn paper or a laser power meter.

- In the case of UV or IR beams, appropriate laser safety eyewear should be worn during the alignment procedure at all times when the laser pulse energy exceeds the MPE: note that it should not block the wavelength-shifted visible fluorescence (UV) or the heat effect on LCD paper or burn paper (IR), which can then be used to visualise the beam.

- Visible or multi-wavelength alignment may have to be carried out without laser safety eyewear, as it would otherwise be impossible to visualise the laser beam on a card. In this case extra caution must be exercised by the operator(s) after appropriate consideration of alternatives and assessment of risks. The laser(s) should be operated below the MPE if possible and in any case at the lowest practicable pulse energy. Blocking of possible stray reflections must be double-checked prior to carrying out this stage.

- Alignment of each laser beam to variable diameter apertures (iris diaphragms) should be employed where possible to minimise the necessity for multi-wavelength alignment.

- Further alignment at full power may be carried out in accordance with the protocol outlined under ‘day-to-day operation’.

## Laser safety protocol: Adding new elements

Definition

Adding new elements applies to the introduction of any new optic into the beam path of a class 4 laser such as a lens or filter.

Protocol/Scheme of work

Planning:

- The placement of additional optics should be planned to minimise the possibility of stray reflections.

- Beam blocks should be devised to terminate any unavoidable stray reflections.

Initial safety checks:

- Before starting the Class 3B/4 lasers, beam paths should be inspected for any objects that should not be there and beam pipes should be replaced if necessary.

- Laser warning signs should be activated, unauthorised persons excluded and laboratory doors closed.

- Alignment may be carried out by one or at most two authorised laser operators. No one else may be present in the room during this procedure and watches, bracelets and other reflective jewellery should be removed.

- Appropriate laser safety eyewear should be worn if practicable. Visible or multi-wavelength alignment may have to be carried out without laser safety eyewear, as it may otherwise be impossible to visualise the laser beam on a card. In this case extra caution must be exercised by the operator(s).

- All optics should be checked for damage, and stability of optics mounts verified.

Initial alignment and suppression of stray reflections:

- Once a new optic is in place, initial alignment should be performed with a Class II or I alignment laser (e.g., He-Ne or small cw diode laser). For simple optics it may be judged sufficient to proceed to the next step without using a Class 1/2 alignment laser.

- The new optic element in the beam path must be analysed for stray reflections. This can be done by predicting the likely path of specular (i.e., non-diffuse) reflections. The actual reflections of the Class 1/2 alignment laser may also be used to help identify stray reflections.

- Suitable beam blocks, opaque at the appropriate wavelengths, must then be installed to block all these stray reflections.

- Any effect ‘downstream’ of the new optic should be checked. ‘Beam pipes’ should be re-installed at this stage.

Alignment using Class 3B/4 lasers at low power:

- This may now be carried out in accordance with the procedure outlined under ‘setting up’ with the exception that explicit permission of a supervisor is not deemed necessary for addition of a simple optical element. (Anything more complex should be taken as ‘setting up’ and the protocol followed accordingly.)

## Laser safety protocol: Day-to-day running

Definition

Day-to-day running applies to the operation of Class 3B/4 lasers under all circumstances except setting up or addition of a new optic element. It includes initial, minor realignment of laser beams at the beginning of an experimental run and ‘tweaking’ of alignments during an actual experiment.

Protocol/Scheme of work

Initial safety checks:

- Before starting the Class 3B/4 lasers, beam paths should be inspected for any objects that should not be there, and beam pipes should be replaced if necessary.

- Laser warning signs should be activated, unauthorised persons excluded, and laboratory doors closed.

- Alignment may be carried out by one or at the most two authorised laser operators. No one else may be present in the room during this procedure and watches, bracelets and other reflective jewellery should be removed.

- Appropriate laser safety eyewear should be worn if practicable. Visible or multi-wavelength alignment may have to be carried out without laser safety eyewear, as it would otherwise be impossible to visualise the laser beam on a card. In this case extra caution must be exercised by the operator(s).

- All optics should be checked for damage, and stability of optics mounts verified.

Check using Class 3B/4 lasers at low power:

- Before turning on full power, the beam path of each laser should be verified in turn, using the lowest possible pulse energy and visualising the beam in an appropriate fashion (e.g., on fluorescent card).

- Under no circumstances must direct viewing of the laser beam be attempted even if the beam has been attenuated. There must be no exceptions to this rule.

Minor realignment (‘tweaking’) with lasers running at full power:

- During an experimental run, it will sometimes be necessary to re-optimise the alignment to recover lost signal. Of necessity, this can only be carried out at full power, with all lasers on. Extra caution should therefore be exercised.

- All beam guards/pipes and blocks for stray reflections should remain in place during this procedure. Beam pipes should be designed to allow limited access to the beam for alignment checking without removal.

- It is especially important to wear appropriate laser safety eyewear when visualising laser beams at full power. As before, in a visible or multi-wavelength experiment this may not be practicable, and extra caution should therefore be exercised.

- It may be possible (and indeed, preferable) to apply minor ‘tweaks’ to the alignment using the experimental signal as a guide. In this case it is not necessary to visualise the laser beams.

- If it is absolutely necessary to visualise the laser beams, e.g. to optimise beam overlap, this may be done by the appropriate method (fluorescent card etc), but this should be avoided if possible e.g. by the use of iris diaphragms.

## Laser safety protocol: Maintenance

Definition

Maintenance applies to all operations inside the laser enclosure. It includes activities such as the removal and reinstallation of optics for cleaning, the changing of laser dyes, the changing of flashlamps, and the installation of new optics inside the laser cavity. Entry into the laser enclosure potentially exposes the laser worker to additional non-optical hazards, for instance those associated with high voltages, and toxic chemicals, in addition to accessing high energy laser beams which are normally enclosed. The activities are very diverse, and specific protocols will need to be prepared for each laser, this document provides some general guidelines on the planning of Maintenance.

Protocol/Scheme of work

Planning:

- Before commencing the maintenance, the manual for the laser system should be consulted, to identify the recommended procedure.

- In the case of anything other than routine maintenance, and/or when the laser manual does not give a procedure, the advice of a laser technician should be sought. Some procedures should only be conducted by an experienced laser technician.

- The hazards associated with the procedure should be assessed, the control measures reviewed, and the conclusions recorded. In the case of some regular maintenance procedures (such as changing the dye solution in a dye laser), reference to an existing protocol may well suffice.

- Maintenance involving the alignment of a laser beam inside a laser enclosure, for instance introducing the pump laser into a dye laser, can lead to an increased laser radiation exposure risk, since part of the beam path of a normally enclosed, and potentially very high power beam is likely to be open.  The protocol for Setting Up should be consulted.

EXAMPLE MPE CALCULATIONS

(Anyone wishing MPE Calculations to be carried out using LASERSAFE PC should contact the Health and Safety Unit)

MPE CALCULATIONS USING LASERSAFE PC Version 2

Calculation Details to EN 60825-1:1994

The user enters the information in to particular data fields.   When completed the calculation program is executed and the results generated are displayed in the form below.

Example 1.

Nd:YAG – pumped DYE LASER at 720 nm

From the output it can be seen that from the MPE Excess there is a SIGNIFICANT OPTICAL RISK

| Repetitively Pulsed Intra-Beam Source | Direct viewing |  |
| --- | --- | --- |
| Wavelength: | 720 nm. |  |  |  |
| Pulse Energy: | 10 mJ |  | Major Axis Divergence: | 0.5 mr. |
| Target Distance: | 1 m. |  | Minor Axis Divergence: | 0.5 mr. |
| Pulse Width: | 10 ns |  | Beam Major Axis: | 4 mm. |
| Beam Profile: | Circular |  | Beam Minor Axis: | 4 mm. |
| Single Pulse MPE: | 5.48 mJ/m² |  | Limit Aperture: | 7 mm |
| Accessible Emission: | 260 J/m² |  | Class Aperture: | 50 mm |
| M.P.E. Excess: | 47000 |  | N.O.H.D.: | 3.04 km |
| Class MPE Excess: | 47000 |  | Extended NOHD: | 21.8 km. (50 mm) |
|  |  |  | Nominal OD: | 4.7, 5 (50% of MPE) |
| Pk. Beam Irradiance: | 26 GW/m² |  | Spot Major Axis: | 4.5 mm |
| Peak Power Output: | 1 MW |  | Spot Minor Axis: | 4.5 mm |

EYE PROTECTION (Intra-beam) – OPTICAL DENSITY REQUIRED:  5

Example 2

Viewing of beam on visualisation card – no protective eyewear for this wavelength.    Worst case disperser reflectance (albedo =100% i.e., all radiation is scattered from the dispersing surface which is assumed to be a Lambertain disperser) and 60 second viewing.

Repetitively Pulsed Diffuse Reflection Source	Viewing off a card

| Laser Beam Wavelength: | 720 nm -> Ellipsoidal |
| --- | --- |
| Exposure to Beam Time Frame: | 60 sec |
| Laser Output Pulse Energy: | 10 mJ |
| Axis 1 Laser Beam Diameter: | 4 mm |
| Axis 2 Laser Beam Diameter: | 4 mm |
| Axis 1 Beam Divergence: | 0.5 mr |
| Axis 2 Beam Divergence: | 0.5 mr |
| Laser to Disperser Distance: | 1 m |
| Disperser Reflectance (albedo): | 100% |
| Disperser to Target Distance: | 1 m |
| Pulse Repetition Frequency: | 10 Hz |
| Pulse Width: | 10 ns |

The resultant Accessible Emission = 0.96 x MPEL.    Based on a pessimistic albedo value,  this is a marginally safe situation.      Exercise caution.    If albedo value is taken as 50% then time taken to reach 1 MPE is 1200 seconds.  Visualisation on an appropriate viewing card can be carried out for a limited time without exceeding the MPE.

## A SIGNATURE SHEET WILL ACT AS A LIST OF AUTHORISED USERS AND A RECORD THAT PERSONS HAVE BEEN GIVEN INFORMATION AND AGREE TO FOLLOW THE PROCEDURES LAID OUT.

## Signature Sheet

This sheet must be signed by all workers before commencing work with Class 3B/4 lasers.

By signing below, you confirm that you have read this document, and you agree to abide by the protocols and guidelines contained herein.

| Name (in block letters) | Signature | Date |
| --- | --- | --- |

This page is intentionally blank

Table 2 – Summary of user precautions

| Requirements subclause BS standard/Amend 2 | Classification |
| --- | --- |
|  | Class 1 | Class 1M | Class 2 | Class 2M | Class 3R | Class 3B | Class 4 |
| Laser safety officer 10.1 | Not required but recommended for applications that involve direct viewing of the laser beam | Not required for visible emission Required for non-visible emission | Required |
| Remote interlock 10.2 | Not required | Connect to room or door circuits |
| Key control 10.3 | Not required | Remove key when not in use |
| Beam attenuator 10.4 | Not required | When in use prevents inadvertent exposure |
| Emission indicator device | Not required | Indicates laser is energised for non-visible wavelengths | Indicates laser is energised |
| Warning signs 10.5 | Not required | Follow precautions on warning signs |
| Beam path 10.6 | Not required | Class 1Ma as for Class 3B | Not required | Class 2Mb as for Class 3B | Terminate beam at end of useful length |
| Specular reflection 10.7 | No requirements | Class 1Ma as for Class 3B | No requirements | Class 2Mb as for Class 3B | Prevent unintentional reflections |
| Eye protection 10.8 | No requirements | Required if engineering and administrative procedures not practicable and MPE exceeded |
| Protective clothing 10.9 | No requirements | Sometimes required | Specific requirements |
| Training 10.10 | No requirements | Class 1Ma as for Class 3R | No requirements | Class 2Mb as for Class 3R | Required for all operator and maintenance personnel |
| a Class 1M laser products that failed condition 1 of table 5 IEC 60825-1 Amend 2. Not required for Class 1M laser products that failed condition 2 of table 5 IEC 60825-1 Amend 2. b Class 2M laser products that failed condition 1 of table 5 IEC 60825-1 Amend 2. Not required for Class 2M laser products that failed condition 2 of table 5 IEC 60825-1 Amend 2. |
| NOTE This table is intended to provide a convenient summary of precautions. See BS EN 60825-1 and IEC 60825-1 Amend 2 of this standard for complete precautions. |

This Page is intentionally blank

APPENDIX 6

|  | THE SAFE USE OF LASER POINTERS |
| --- | --- |

The University Radiation Policy and guidance on the Safe Use of Lasers lays out the requirements for the control of hazards associated with lasers.  Lasers are commonly available and some are used for presentation purposes as pointers.  Power outputs of laser pointers can vary.    Class 1 laser systems are normally safe.    Class 2 and 3A systems are not hazardous under certain conditions, however they can cause harm to the eyes particularly if the beam is stared into.  Normally the eye's blink reflex affords protection to short duration accidental exposure to Class 2 and 3A lasers.   Class 1 or Class 2 laser pointers are the recommended choice where a laser pointer is necessary.   Class 3B laser pointers must not be used.

Laser pointers should only be used as a pointing device and appropriately securely stored when not in use.  Persons who use laser pointers should ensure that they are aware of potential hazards and they should comply with the basic instructions below.

Instructions for use

When operating laser pointers, users must ensure that they use these in a safe manner and do not expose themselves or others to the beam.   Laser pointers are not to be modified in any way.

| DO: ( | Follow the manufacturer's safety instructions. Take care when operating the laser pointer. Keep the ‘on’ button depressed only when necessary. |
| --- | --- |
| DO NOT: | Do not keep the 'on' button depressed when not pointing at the screen. Do not point at or towards the audience. Do not point at mirrored surfaces. Never look into the laser aperture. Never look directly or stare into the beam/beam aperture when on. Never allow unauthorised use, especially by children. |

|  | EMERGENCY PROCEDURE LASER HAZARD EXPOSURE to Class 3/4 laser |  |
| --- | --- | --- |

Report to the Accident and Emergency Department, Birmingham & Midland Eye Centre, City Hospital, Dudley Road, Birmingham, B18 as soon as possible and within 24 hours of the incident.

Do not drive yourself, get a friend or colleague to take you.

| Out of hours: | Use an internal phone and call 44444 |
| --- | --- |
|  | i. State Building and Department |
|  | ii. Location and nature of incident/accident |
|  | iii. Request ambulance to take the casualty to the Eye Centre, City Hospital |
|  | iv. Take the card below to the Hospital |

|  | EMERGENCY OPHTHALMIC EXAMINATION LASER Exposure |
| --- | --- |
|  | Report to: Accident and Emergency Department, Birmingham & Midland Eye Centre, City Hospital, Dudley Road, Birmingham, B18 Tel: 0121 507 6780 (A&E) or 0121 554 3801 (University short code 1-017) |
|  | LASER DETAILS: |  |
|  | i. Type: | Continuous Wave / Pulsed* |
|  | ii. Wavelength: | …………………………………nm |
|  | ii. Power Output (CW): | …………………………………. |
|  | or Pulse Energy, Duration, and Rate (pulsed): | …………………………………. |
|  | iv. Laser Classification: | …………………………………. |
|  | THE UNIVERSITY OF BIRMINGHAM | School/Department |
|  |  | …………………………………. |
|  | EXPOSURE DETAILS: |  |
|  | i. Circumstances of accident/injury: | …………………………………… |
|  | ii. Time/Date of Injury | …………………………………… |
|  | iii. Eye affected: | Left/Right/Both* |
|  | iv. Were protective goggles being worn? | Yes/No* |
|  |  | * delete as appropriate |
|  | REPORT ACCIDENT/INCIDENT to The HEALTH and SAFETY UNIT Ext 45251/45253/45254 during normal hours |

All accidents and incidents, whether involving an emergency examination or not, must be reported promptly to the Health and Safety Unit using the current University Accident/Incident Report Form.

The University Laser Safety Adviser and School/Departmental Laser Supervisor/Officer must also carry out a detailed investigation of the accident/incident.  A copy of this report together with results of the ophthalmologic examination will be referred to the Moorfields Eye Hospital, City Road, London EC1V 2PD.

Any serious injury or 3 day absence from work has to be reported to the Health and Safety Executive under 'The Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 1995'.

g:\aww7text\guidance\18sul.doc

9.5.2001